## INDEX
NUAR Codelists_Transformation / These codelists contain terms and values generally used in the UK excavation ecosystem.

Index of codelists	Description
accesstypevalue	A list of access types.
contactdetailstypevalue	A list of contact detail types.
containertypevalue	A list of container types
conveyancecategoryvalue	A list of roles that particular network segments play in overall network conveyance, e.g. Trunk vs Distribution.
conveyancemethodvalue	A list of methods by which utility commodities are conveyed through a network asset, e.g. gravity vs pumped.
dataprovenancevalue	A list of the potential sources from which data may have been derived.
depthmethodvalue	A list of methods by which the stated depth of a utility asset has been determined.
designationpurposevalue	A list of conservation area designation purposes.
enhancedmeasurestypevalue	A list of values representing enhanced measures to be undertaken when using data stored in the platform, due to hazards or sensitivities associated with a feature or type of feature.
featuretypevalue	A list of feature types for MUDDIObjects. This may be redundant with the name of a derived feature, but allows generic utility information to be typed and also allows new feature types to be added without changing the model.
horizontalmeasurementmethodvalue	A list of values for methods of horizontal measurement used while surveying the asset.
installationmethodtypevalue	A list of values representing ways in which buried assets may have been installed.
intendedpermanencevalue	A list of values for intended permanence.
lifecyclestatusvalue	A list of values representing the stage of the feature lifecycle an individual feature is in at a given time.
localereferencetypevalue	A list of types of locale reference, for example USRN, UPRN, Grid Reference.
locationtypevalue	A list of location types.
materialgradevalue	A list of grades of materials used in assets (particularly pipelines).
materialvalue	A list of utility asset constituent materials.
measurementunitsvalue	A list of attribute value measurement units.
networkaccessorytypevalue	A list of specific types of Network Accessory objects.
networkdescriptiontypevalue	A list of Network Description types, such as annotations, cross-section markers etc.
networklinkcomponenttypevalue	A list of specific types of NetworkLinks. These may be redundant with derived network link feature types and supplemented by more specific component type codelists. It allows new Network Link feature types to be added without changing the model.
networknodecomponenttypevalue	A list of specific types of NetworkNodes. These may be redundant with derived network node feature types and supplemented by more specific component type codelists. It allows new NetworkNode feature types to be added without changing the model.
nonutilityobjecttypevalue	A list of Non-Utility object types.
operatingconveyanceleveltypevalue	A list of levels quantifying the methods by which utility commodities are conveyed through a network asset, e.g. pressure or voltage.
operationalstatusvalue	A list of operational status values for MUDDIObjects.
orientationtypevalue	A list of orientation types for text and symbol angles.
physicalprotectiontypevalue	A list of types of physical protection used for assets.
planningareatypevalue	A list of planning area types. Redundant with derived planning region feature types but allows new region types to be defined without changing the model.
qualitylevelvalue	A list of Utility Survey quality levels from PAS128:2022.
serviceareatypevalue	A list of specific types of Network Areas. Areas may relate to full coverage for a given network, more granular operational patches, individual sites or indications of rights of access.
sewerdepthtypevalue	A list of sewer depth types.
sitetypevalue	A list of specific types of Sites.
supporttypevalue	A list of types of utility asset supports, e.g. Footing vs Tower.
temperaturerangevalue	A list of temperature ranges.
undergroundstatusvalue	A list of underground status, e.g. Underground vs. Surface, Utility assets which are not fully buried may still be represented in this model so as to provide important information and constraints on underground utility infrastructure.
unitoftimevalue	A list of values for units of time.
utilitysubtypevalue	A list of utility subtypes that classify utilities at a secondary level, such as surface water vs combined sewer.
utilitysurveytypevalue	A list of Utility Survey Types, primarily derived from PAS128:2022.
utilitytypevalue	A list of utility types for MUDDIObjects. Redundant with utility-specific derived feature types, but allows generic or hybrid asset information to be represented, or new utility types to be added without changing the model.

## accesstypevalue
Values
Access Chamber
Access Plate
Other
Pig Trap

## contactdetailstypevalue
Values
Asset Protection
Business
Emergency
Other
Planning

## containertypevalue
Values
Arcade
Carrier Pipe
Conduit
Duct
Other
Pipe
Pit
Subduct
Trench
Tunnel
Unknown
Utilidor
Vault
Vent

## conveyancecategoryvalue
Values
Auxiliary
Collection
Communication
Discharge
Distribution
Dual Flow and Return Line
Fire
Flow Line
Other
Private
Return Line
Service
Transmission
Trunk
Unknown

## dataprovenancevalue
Values
Asset Owner Records
Contractor As-laid Drawings
Field Observation
Non-PAS128 Survey
Other
PAS128 Utility Survey
Sensor Record
Unknown

## conveyancemethodvalue
Values
Extra High Voltage
Gravity
High Pressure
High Voltage
Intermediate Pressure
Intermediate Voltage
Low Pressure
Low Voltage
Medium Pressure
Medium Voltage
National High Pressure
Other
Pressure
Pumped
Regional High Pressure
Regional Intermediate Pressure
Syphon
Unknown
Vacuum

## depthmethodvalue
Values
Assumed
Estimated
Not Applicable
Other
Sensed
Standard
Surveyed
Unknown

## designationpurposevalue
Values
Conservation Area
Mossland
Protecting And Enhancing Biodiversity And Habitats
Wildlife Enhancement Corridors

## enhancedmeasurestypevalue
Values
Active monitoring of searches
Further consultation required
Permission required
Proceed with caution
Special guidance required

## featuretypevalue
Values
Access Object
Container Object
Network
Network Accessory Object
Network Area
Network Description Object
Network Link
Network Node
Network Object
Network Site
Physical Protection Object
Planning Area
Support Object

## horizontalmeasurementmethodvalu
Values
Assumed
Estimated
Measured
Not Applicable
Sensed
Surveyed
Unknown

## installationmethodtypevalue
Values
Bursting
Dead Insertion
Directional Drilling
Ducted
Live Insertion
Moling
Open Cut
Other
Trenching

## intendedpermanencevalue
Values
Permanent
Temporary
Unknown

## lifecyclestatusvalue
Values
Archived
Deleted
Publishable
Ready for Archive
Retired
Submitted

## localereferencetypevalue
Values
Other
Postcode
UPRN
USRN

## locationtypevalue
Values
Carriageway
Field
Footpath
Other
Verge

## materialgradevalue
Values
Other

## materialvalue
Values
ABS
Aluminium
Asbestos Cement
Asphalt
Brick
Carbon Fibre
Cast Iron
Ceramic
Clay
Coated Steel
Composite
Concrete
Copper
Ductile Iron
Earthen
Fiberglass
Galvanised Iron
Galvanised Steel
Geotextile
Gravel
HDPE
Iron
LDPE
Lead
MDPE
MOPC
Optical Fibre
Other
PEX
Pitch Fibre
Plastic
PVC
Spun Iron
Steel
Stone
Tile
Transite
Unknown
uPVC
Wood

## measurementunitsvalue
Values
bar
Centimetres
Degrees
Degrees Centigrade
Degrees Fahrenheit
Feet
Inches
Kilometres
kV
mBar
Megahertz
Metres
Miles
Millimetres
Radians
Revolutions
Square Centimetres
Square Feet
Square Inches
Square Kilometres
Square Metres
Square Miles
Square Millimetres
Square Yards
Unknown
V
Yards

## networkaccessorytypevalue
Values
Access
Container
Other
Physical Protection
Support

## networkdescriptiontypevalue
Values
Annotation
Change of Diameter
Change of Material
Cross Section
Depth
Dimension
Flow Direction
Multimedia Attachment
Other
Pressure Marker
Supplemental Drawing
Survey Quality Level

## networklinkcomponenttypevalue
Values
Auxiliary Power Conductor
Bridge
Cathodic Protection Conductor
Culvert
Drain
Line
Open Channel
Optical Fibre
Other
Out of Standard Service
Permeable Asphalt
Pipe
Pipeline
Power Conductor
Rain Garden
Swale
Telecommunications Link
Telemetry Link
Tree Pit
Tunnel

## networknodecomponenttypevalue
Values
Anchor Point
Anode
Beacon
Bollard
Cabinet
Capped End
Cathodic Protection Node
CCTV
Chamber
Cleaning Device
Culvert
Discharge Device
Drain
Earthing Equipment
EV Charging Point
Filter
Flow Control
Gas Conditioner
Gully
Housing
Hydrant
Illuminated Sign
Injection Point
Inlet
Joint
Junction
Kiosk
Link Box
Measuring Device
Metering Device
Offtake
Other
Out of Standard Service
Outlet
Overflow
Parking Meter
Pillar
Pit
Pond
Post
Pressure Reduction
Pumping Equipment
Purge Point
Rain Garden
Refuge Beacon
Regulator
Riser
Rodding Eye
School Crossing Flasher
Shaft
Sign Light
Stand Pipe
Streetlight
Swale
Syphon
Tank
Tee
Telecommunications Node
Telemetry Node
Terminator
Traffic Signal
Trap
Tree Pit
Valve
Vent
Zebra Crossing

## nonutilityobjecttypevalue
Values
Barrier
Basement or Cellar
Bridge
Duct
Foundation
Other
Passageway
Shaft
Storage Tank
Tracks
Tunnel
Vault
Wall

## operatingconveyanceleveltypeval
Values
Other
Pressure
Voltage

## operationalstatusvalue
Values
Abandoned
Commissioned
Decommissioned
Delete Before Installation
In Service
Installed
Other
Out Of Commission
Pending Abandonment
Pending Removal
Proposed
Removed
Under Construction
Unfit For Service
Unknown

## orientationtypevalue
Values
Arithmetic
Geographic

## physicalprotectiontypevalue
Values
Other
Plate
Slabbing
Sleeve
Tape

## planningareatypevalue
Values
Archaeological Site
Conservation Area
Coordination Zone
Former Industrial Site
Historical Site
Listed Building
Other
Permit to Dig Restricted Area
Scheduled Monument
Section 50 Site
Section 58
Security Zone
Site of Special Scientific Interest
Tree Preservation Order
Wetland
Wildlife Corridor

## qualitylevelvalue
Values
QL-A
QL-B1
QL-B1P
QL-B2
QL-B2P
QL-B3
QL-B3P
QL-B4
QL-B4P
QL-C
QL-D

## serviceareatypevalue
Values
Administrative Boundary
Coverage inferred from data
Coverage of Works
Data Supply Area
Franchise Area
Licence Area Boundary
National or Regional Coverage
Operational Patch
Other
Right of Access
Site

## sewerdepthtypevalue
Values
Downstream Invert Depth
Unknown
Upstream Invert Depth

## sitetypevalue
Values
Compressor Station
General Site
Independent/Private Network Site
Multi-purpose Site
Other
Pumping Station
Regulator Site
Reservoir
Section 50 Site
Storage Site
Substation
Treatment Works

## supporttypevalue
Values
Bed
Bridge
Footing
Foundation
Other
Pad
Pole
Thrust Block
Thrust Plate
Tower

## temperaturerangevalue
Values
< 50 degrees centigrade
> 80 degrees centigrade
50-80 degrees centigrade
Unheated

## undergroundstatusvalue
Values
Aboveground
Mixed
Overhead
Submerged
Surface
Underground

## unitoftimevalue
Values
Day
Month
Week
Year

## utilitysubtypevalue
Values
Alarm
Ammonia
Combined Sewer
Cooled Water
CSO Overflow
Drainage
Electric Power
Foul Sewer
Glycol
Heated Water
Journey Time Apparatus
Natural Water
Non-Potable Water
Other
Potable Water
Raw Water
Steam
Stored Water
Street Lighting
SuDS
Surface Water Sewer
Telecommunication
Trade Effluent
Treated Effluent
Treated Water
Untreated Effluent

## utilitysurveytypevalue
Values
Non-PAS128 Survey
Other
PAS128:2022 – Type A (verification)
PAS128:2022 – Type B (detection)
PAS128:2022 – Type C (site reconnaissance)
PAS128:2022 – Type D (desktop utility records search)

## utilitytypevalue
Values
Beer
Chemicals
District Heating
Drainage
Electric
Gas
HVAC
Oil
Other
Petroleum
Sewer
Slurry
Telecommunication
Transportation
Water